# Emergency Evacuation Plan

Treswell Village Hall  |  Appendix 2 to the Health & Safety Policy

| Premises | Treswell Village Hall, Town Street, Treswell, Retford, DN22 0EG |
| --- | --- |
| What3Words location | FOLLOWERS.COOKIE.CHOIRS |
| Maximum occupancy | 100 people (must not be exceeded) |
| Responsible person (H&S) | Shaun Cope, 07970 733058 |
| Committee Chair | Mrs Helen Cope |
| Document | Appendix 2 to the Health & Safety Policy (rev. June 2026) |
| Next review due | June 2027 |

## 1.  Purpose

This plan sets out how people are to be evacuated safely from Treswell Village Hall in the event of a fire or other emergency. It applies to committee members, hirers, volunteers, visitors and contractors. Hirers are responsible for making everyone at their event aware of the escape routes, the assembly point and these procedures before the event begins.

## 2.  On discovering a fire

- Raise the alarm immediately and alert everyone in the building.

- Do not attempt to fight the fire unless it is safe to do so and you are confident using an extinguisher. Tackling a fire must never delay evacuation or put anyone at risk.

- Leave the building by the nearest available exit, helping others as needed.

- Call 999 from a safe place once outside.

## 3.  Evacuation procedure

- On hearing the alarm or being told to evacuate, leave calmly by the nearest available fire exit. Do not stop to collect belongings.

- Do not run.

- Close doors behind you where possible to slow the spread of fire and smoke.

- Go directly to the assembly point and remain there until told it is safe.

- The person responsible for the hiring checks, as far as it is safe to do so, that everyone has left, including kitchen, toilets and any side rooms.

- Do not re-enter the building for any reason until the fire service or a committee member confirms it is safe.

## 4.  Keeping escape routes available

All emergency exit doors must be kept clear and unlocked from the moment the hall is in use and throughout the hiring. Escape routes, corridors and final exits must not be obstructed by furniture, equipment or stored items. The hirer must check this before each event.

## 5.  Responsibilities

- The committee maintains the building, fire safety equipment and this plan, and ensures suitable evacuation arrangements are in place.

- The person responsible for each hiring acts as the evacuation coordinator for their event: briefing attendees, keeping exits clear, overseeing evacuation and accounting for people at the assembly point.

- All occupants must follow instructions, evacuate promptly and not re-enter the building.

## 6.  Assisting disabled or less mobile people

The hirer is responsible for identifying anyone attending who may need help to leave the building, including disabled, elderly, less mobile or very young people, and for making sure appropriate assistance is available throughout the hiring. Anyone needing help should be assisted to the nearest exit by pre-arranged helpers. If a person cannot be safely evacuated, move them to the safest available area away from the fire, and tell the fire service their exact location immediately on arrival.

## 7.  Assembly point

On leaving the building, everyone must go to the assembly point and stay there so that people can be accounted for. The assembly point is at the front of the building adjacent to the roadway. Take care of passing traffic and keep clear of the access route used by the fire service. Its exact location is marked on the site plan at the end of this document entitled Appendix 2.

## 8.  Calling the emergency services

Call 999 and ask for the fire service. Give the address as Treswell Village Hall, Town Street, Treswell, Retford, DN22 0EG. If you need to pinpoint the location, quote the What3Words reference FOLLOWERS.COOKIE.CHOIRS. Tell the operator if anyone is still inside or unaccounted for.

| Service | Contact |
| --- | --- |
| Emergency (fire, ambulance, police) | 999 |
| Nearest A&E - Bassetlaw Hospital, Worksop, S81 0BD | 01909 500990 |
| Minor injuries - John Coupland Hospital, Gainsborough, DN21 2TS | 01427 816500 |
| Responsible person (H&S) - Shaun Cope | 07970 733058 |
| Fire equipment - Nottinghamshire Fire Safety Ltd | 01623 825516 |

## 9.  Solar panels and battery storage

Responders must be made aware of any solar PV array and battery energy storage system on the premises. The solar DC wiring can remain live in daylight even after the mains supply is switched off, so the labelled DC isolator and PV signage must be pointed out to the fire service. A battery storage unit can burn intensely, reignite and release toxic and flammable gases, so its location and isolation point must be made known to responders and kept clear of escape routes and the assembly point. This section applies only if these systems are installed; see the Fire Risk Assessment for the detailed hazards and controls.

## 10.  First aid and reporting

The first aid box is located in the sliding-door cupboard in the hallway, where the accident book is also kept. Any accident or injury must be recorded in the accident book by the person responsible for the hiring, who must also inform a committee member immediately. Certain serious incidents are reportable to the Health and Safety Executive under RIDDOR; the decision to report rests with Shaun Cope.

## 11.  Fire safety equipment

Fire detection and firefighting equipment is serviced annually each September by Nottinghamshire Fire Safety Ltd. The committee member responsible for fire safety carries out and records periodic checks. Any equipment found to be damaged or missing must be reported to the responsible person without delay.

## Review and approval

This plan forms Appendix 2 of the Health & Safety Policy and is reviewed annually by the management committee, and after any fire, evacuation or significant change to the building.

Approved on behalf of the committee:  ............................................................

Name:   SHAUN COPE

Position:  Person responsible for H&S at Treswell Village Hall

Date:  30th June 2026

Insert Appendix 2 Fire & Emergency Plan